# Host Hospital Checklist for Sending and Receiving Provincial Ventilators

To be completed prior to ventilator shipping and upon return

NOTE:  Host Hospital to contact the vendor(s) directly, for repairs, malfunctions or damages that fall within warranty terms and conditions.

Date: _______________________	                             Completed By: _______________________

Host Hospital Name: _______________________

Site Lead (Name and Title): _______________________

Contact Number and Email: _______________________

Please complete one form per ventilator (to be filed at your hospital)

Ventilator being (check one):  	☐ Shipped	☐ Received	☐ For Rotation

| Requesting Hospital Name |  | Requesting Hospital Contact Name and Number |  |
| --- | --- | --- | --- |
| Type of Ventilator (Airvo 2, AVEA, Bella Vista, Carescape R860, Evita XL, Hamilton T1, PB 840, Servo-N, Servo-U, V500) |  | Date Shipped / Received |  |
| MOH Asset Tag Number | Hospital Tag Number |  | Serial Number |

| Action | Status | Date | Initials |
| --- | --- | --- | --- |
| Read hours meter | Number of hours: _____ |  |  |
| Wipe down ventilator with hospital approved cleaning solution | ☐ No ☐ Yes |  |  |
| Biomedical electrical check (receiving only) | ☐ No ☐ Yes |  |  |
| Check overall condition of the housing | ☐ Very Good ☐ Good ☐ Poor |  |  |
| Keyboard/panel condition | ☐ Very Good ☐ Good ☐ Poor |  |  |
| Trolley/stand condition – casters | ☐ Very Good ☐ Good ☐ Poor |  |  |
| Scratches or damage on display field/screen | ☐ No ☐ Yes: ___________ |  |  |
| Power cord attached | ☐ No ☐ Yes |  |  |
| Patient circuit arm attached | ☐ No ☐ Yes |  |  |
| Inspiratory block and fittings checked | ☐ No ☐ Yes |  |  |
| Expiratory block and fittings checked | ☐ No ☐ Yes |  |  |
| Fan cover and filters in place | ☐ No ☐ Yes |  |  |
| Operator Manual (if requested) | ☐ No ☐ Yes |  |  |
| Vendor information on the ventilator | ☐ No ☐ Yes |  |  |
| Humidifier attached | ☐ No ☐ Yes ☐ N/A |  |  |
| Heated wire & temperature probe cables | ☐ No ☐ Yes |  |  |
| O2 and air high pressure lines attached with DISS connections | ☐ No ☐ Yes |  |  |
| Circuits sent | ☐ No ☐ Yes: Number Sent ___ |  |  |
| Circuits returned | ☐ No ☐ Yes: Number Returned ____ |  |  |
| External flow sensor included | ☐ No ☐ Yes: Number Sent ___ |  |  |
| Heated Expiratory filter (if applicable) sent | ☐ No ☐ Yes ☐ N/A |  |  |
| Expiratory filter for specific ventilator sent | ☐ No ☐ Yes ☐ N/A |  |  |

| Standard Biomedical Test | Pass | Date | Signature |
| --- | --- | --- | --- |
| Performed by: | ☐ No ☐ Yes |  |  |
| Biomedical Engineering Electrical Safety Test | Pass | Date | Signature |
| Performed by: | ☐ No ☐ Yes |  |  |
| Respiratory Therapy Department Functionality Test | Pass | Date | Signature |
| Performed by: | ☐ No ☐ Yes |  |  |

This form was completed by:

| Name: |  |
| --- | --- |
| Position: | Contact Number: |
| Signature: | Date: |