# Requesting Hospital Checklist for Sending and Receiving Provincial High Flow Nasal Cannula System (Airvos™ 2)

To be completed upon receiving High Flow Nasal Cannula (Airvo™ 2) units and prior to returning to Host Hospital

Please complete one form per High Flow Nasal Cannula (Airvo™ 2) unit (to be filed at your hospital)

Date: _______________________	                             Completed By: _______________________

Requesting Hospital Name: _______________________

Site Lead (Name and Title): _______________________

Contact Number and Email: _______________________

Airvo™ 2 unit being (check one):  	☐ Shipped	☐ Received

| Host Hospital Name |  | Host Hospital Contact Name and Number |  |
| --- | --- | --- | --- |
| Type of Unit |  | Date Shipped / Received |  |
| High Flow Nasal Cannula System (Airvo™ 2) |  |  |  |
| MOH Asset Tag Number | Hospital Tag Number |  | Serial Number |

| Action | Status | Date | Initials |
| --- | --- | --- | --- |
| Vendor information on the Airvo ™ 2 unit | ☐ No ☐ Yes |  |  |
| Biomedical electrical check | ☐ No ☐ Yes |  |  |
| Passed the following tests: Heater plate Check for leaks Check for blockages Check tube Power out | ☐ No ☐ Yes ☐ No ☐ Yes ☐ No ☐ Yes ☐ No ☐ Yes ☐ No ☐ Yes |  |  |
| Air filter present and filter cover attached | ☐ No ☐ Yes |  |  |
| Disinfection counter | Number: |  |  |
| Wipe down with hospital approved cleaning solution | ☐ No ☐ Yes |  |  |
| Check overall condition of the Airvo | ☐ Very Good ☐ Good ☐ Poor |  |  |
| Keyboard/Panel buttons condition | ☐ Very Good ☐ Good ☐ Poor |  |  |
| Trolley/stand condition - casters | ☐ Very Good ☐ Good ☐ Poor |  |  |
| Display condition (scratches/pitting/brightness) | ☐ Very Good ☐ Good ☐ Poor |  |  |
| Power cord attached | ☐ No ☐ Yes |  |  |
| Basket attached | ☐ No ☐ Yes |  |  |
| High flow O2 meter and hose with DISS connection included | ☐ No ☐ Yes |  |  |
| Disinfection hose and filter attached | ☐ Very Good ☐ Good ☐ Poor |  |  |
| Air intake filter sent | ☐ No ☐ Yes ☐ N/A Number: |  |  |
| Air intake filter returned | ☐ No ☐ Yes ☐ N/A Number: |  |  |
| Circuits sent | ☐ No ☐ Yes ☐ N/A Number: |  |  |
| Circuits returned | ☐ No ☐ Yes ☐ N/A Number: |  |  |
| Comments for items marked as ‘poor’: |  |  |  |

| Standard Biomedical Test | Pass | Date | Signature |
| --- | --- | --- | --- |
| Performed by: | ☐ No ☐ Yes |  |  |
| Biomedical Engineering Electrical Safety Test | Pass | Date | Signature |
| Performed by: | ☐ No ☐ Yes |  |  |
| Respiratory Therapy Department Functionality Test | Pass | Date | Signature |
| Performed by: | ☐ No ☐ Yes |  |  |

This form was completed by:

| Name: |  |
| --- | --- |
| Position: | Contact Number: |
| Signature: | Date: |